## Slide 1: Small Scale Stand Alone Hybrid Solar PV and Wind Energy Generation System for EE 452 Lab
Team: Daniel Mendez, Benjamin Holt, Samah Shabbo, Conner Makoben, Mohamed Adam
Advisor/Client: Venkataramana Ajjarapu - Professor of Electrical Engineering
Team Website: http://sddec20-16.sd.ece.iastate.edu, Team Number: sddec20-16
20-16
Notes: Speaker: Daniel Mendez
To upload an audio file:
1)Record audio
2)Convert to mp3 if needed (i used https://www.zamzar.com/convert/m4a-to-mp3/)
3)Move it to your google drive
4)In the power point slide, click on insert, audio, and then pick your sound file
Don`t forget to share it to me so I could download to my computer and upload to power pointt

## Slide 2: Agenda
Project Plan
System Design
Conclusion
Acknowledgements
20-16
Notes: Speaker: Daniel Mendez

## Slide 3: Project Plan
20-16
Notes: Speaker: Daniel Mendez

## Slide 4: Problem Statement
Background
  Fossil fuels proven to have environmental impact
  U.S Carbon Dioxide emissions = 1,763 million metric tons
  Temperature rise of 2.5 to 10 degrees Fahrenheit
Task
  Design and develop a standalone hybrid renewable energy generation system
  Wind and Solar PV energy
  Hardware and software implementation in EE 452 Lab
20-16
Notes: Speaker: Daniel Mendez

## Slide 5: Conceptual Sketch/Diagram
Solar Panel 1
Solar Panel 2
Battery 1
Battery 2
Controller
DC Load
Inverter
AC Load
Wind Turbine
Switch
20-16
Notes: Speaker: Ben

## Slide 6: Functional Requirements
Model solar PV panels and wind simulations
Generation energy from solar cell and wind turbine.
Power conversion from AC to DC and from DC to AC.
Maintain power quality of system for various loads.
Storage of the excess power.
20-16
Notes: Samah

## Slide 7: Non-functional Requirements
Generate clean energy using maximum power point tracking algorithm, inverters, battery bank, and controllers.
Adheres to IEEE standards
Regeneration system adheres to safety standards.
Metering of systems to prevent overvoltage/overcurrent.
Testing and implementation.
Design lab experiments for students
20-16
Notes: Samah

## Slide 8: Constraints and Considerations
Constraints
  Geographical location
  Use of lab: COVID-19
  Non-ideal climate
  Energy efficiency
  Power losses
Considerations
  Safety
  Risk analysis
  Functionality
  Equipment specification
  Load management
  Cost
  Educational benefits
20-16
Notes: Speaker: Daniel Mendez

## Slide 9: Market Survey
Benefits
  0.5 tonnes CO2 avoided (2007-2015)
  7000 mortalities avoided (2007-2015)
  Annual savings of $87.8 billion (2015)
Significance
  Contribute to climate change goals
  Increase in wind and solar deployment
  Education for students
  Scalability
20-16
Notes: Speaker: Daniel Mendez

## Slide 10: Potential risks and Mitigation
Results of risk analysis
  Electric shock, injury or death
  Arcing, explosion, fire causing burns
  Fire
Mitigation steps
  Ensure all equipment is electrically safe
  Comply with all standards
  Standard operating procedure
  Troubleshoot and reconfigure circuit
  Monitor loads
20-16
Notes: Speaker: Daniel Mendez

## Slide 11: Resource and Cost Estimate
All resources applied by ECpE, Iowa State University
Bill of Materials:
20-16
Solar panel | $300
Wind turbine | $800
Microcontroller Arduino | $20
Arduino LCD display | $10
Circuit breaker and relay | $65
Digital Multimeter | $150
Toggle switch | $30
Connection wires & Connectors | $40
Panel box | $50
Light bulb bank | $100
Resistor Bank | $100
Total Price
=$1665
Notes: Speaker: Samah

## Slide 12: Project Milestones and Schedule
2020
Milestone
Research Solar PV and Wind Generation
01
Milestone
Test Hardware and Solar PV simulations
02
Milestone
Design Wind generation model
03
Milestone
Order equipment
05
Milestone
Design solar PV lab simulations
04
09
Milestone
Adjust lab manual
Milestone
Cost analysis and Parts list
06
Milestone
Test equipment
Sep
Oct
Nov
Dec
May
Jun
Jul
Aug
Jan
Feb
Mar
Apr
07
Milestone
Construct and centralize documentation
08
Milestone
QA/QC
20-16
Notes: Speaker: Daniel Mendez

## Slide 13: System Design
20-16
Notes: Speaker: Daniel Mendez

## Slide 14: Detailed Design
20-16
Notes: Speaker: Ben Holt

## Slide 15: Functional Decomposition
DC Output Functional Decompositions:
Solar arrays generate electrical power
  convert solar radiation into direct current electricity
Wind turbine generates electrical power
  Convert wind into direct current electricity
Solar and Wind controller
  MPPT tracks max power point and charges batteries
Batteries
  Store energy supplied by a PV panels
Load
  Resistors and used to approximate MPP
20-16
Notes: Speaker: Ben Holt

## Slide 16: Hardware and Software Platforms
Hardware
  Wind turbine
  Solar Array
  Enclosure
  Batteries
  DC/AC Loads
  Converter
  inverter
Software
  Arduino
  Meter wiring
  PV and wind model
All software related work used MATLAB/SIMULINK
20-16
Notes: Speaker: Ben Holt

## Slide 17: SOFTWARE: SIMULINK PV SYSTEM MODEL
Solar PV behavior MPPT behavior
20-16
Notes: Speaker: Conner Makoben

## Slide 18: SOFTWARE: SIMULINK WIND TURBINE SYSTEM MODEL
20-16
Notes: Speaker: Mohamed

## Slide 19: Test Plan
Troubleshoot
  Measure voltage throughout circuit
  Trigger switches and relays
  Ensure proper safety measures
Lab Use
  Team use and design testing
  Students and peers
  User with no prior knowledge
20-16
Notes: Speaker: Ben Holt

## Slide 20: Prototype Implementations
Previous Projects
  Conceptual models previously developed
  Most recent team created a product without wind energy
Implementation timeline
  Integration of solar PV
  Functional solar PV system prototype by March
  Final product by December 2020
  Final product will be for lab use
20-16

## Slide 21: Conclusion
20-16
Notes: Speaker: Daniel Mendez

## Slide 22: Current Project Status
Research Solar PV and Wind Generation
Test hardware and Solar PV simulations
Develop Solar PV lab manual
Model Wind Generation
Cost Analysis and BOM
Order equipment
Centralize documentation
20-16
Notes: Speaker: Daniel Mendez

## Slide 23: Next Semester
Execute implementation of hybrid system
Centralize documentation
Develop standard operating procedure
Develop hazard analysis
Finalize lab manual
QA/QC checkout
Insure safety for all users
20-16
Notes: Speaker: Daniel Mendez

## Slide 24: Member Responsibility/Contributions
Daniel: Lead Engineer
Ben: Test Engineer
Mohamed: Scribe Engineer
Samah: Research,cost analysis Engineer
Conner: Report Manager
20-16
Notes: Speaker: Daniel Mendez

## Slide 25: Acknowledgements
Professor Ajjarrapu
Pranav Sharma
Priya Vaddepally
ECpE department
All group members
20-16
Notes: Speaker: Daniel Mendez

## Slide 26
Questions?
20-16
Notes: Speaker: Daniel Mendez